# Operational Report

# For

# AES Energy Storage

# Barbados

Version 2.1

September 2010

Table of Contents

Table of Contents	ii

Revision History	ii

1.	Summary	1

2.	Maintenance and Change Requests	3

3.	Events	4

4.	Conclusions	5

Revision History

| Name | Date | Reason For Changes | Version |
| --- | --- | --- | --- |
| Isaiah Jefferson | June 9, 2010 | Initial Draft | 1.0 |
| John Zauranchik | October 12, 2010 |  |  |
| Dauren Kilish | October 15, 2010 |  |  |

# Summary

  - Financials $???

Daily

- Average price year to date

- Average price budgeted year to date

- Day ahead regulation price

Monthly

- Monthly average regulation price

- Monthly budgeted average regulation price

- Monthly Income Statement vs. Basecase

  - The Availability Factor (AF) target for Barbados is 95%.  The AF in September was 84% down from 95% in August; The AF for Q3 2010 is 85% and YTD AF is 88%.

- OF (Outage Factor)

- FOH (Forced Outage Hours)

- Service Factor

- Number of container trips

  - Barbados Daily Availability Factor was below 80% ten days during the month of September

- Losses

  - Net Energy (Monthly kwh consumed)

  - Losses from Regulation

  - Aux Power

- Watt Hour Thruput

- Performance Index

- Average and Max C-rate

  - Environmental

Monthly

- Number of cooling medium leaks

# Maintenance and Change Requests

  - There were 2 Change Requests schedule for completion in September 2010

Maintenance KPIs:

- Number of work orders dispatched

- Number of warranty calls by Vendor

- Ratio of completed PMs vs. Work Orders

Need to add into CMMS:

- Electrical equipment PMs and notification addresses

- Chiller PMs and notification addresses

Jira will serve as a full maintenance log.

# Safety

Additional tab will be inserted into safety walk form to summarize safety walks into the following table:

| Date | Project | Who | Type of safety ofservation | Action required |
| --- | --- | --- | --- | --- |

Safety KPIs:

AES People

- Number of LTIs

- Number of recordable

- Recordable rate

- Number of near misses

- Number of safety walks

- Date since last LTI

Contractors

- Recordable

- Man hours worked

- Recordable rate

# Events

  - There were 203 Events registered in September 2010.  Top 5 days account for 122 Events

# Conclusions